## Content
Electricity & Hydrogen Reference Grid and Investment Candidates
_ | Methodology
1 | Electricity Reference Grid
2 | Hydrogen Reference Grid
3 | Electricity Investment Candidates
4 | Hydrogen Investment Candidates

## _Methodology
METHODOLOGY FOR REFERENCE GRID:
Electricity Reference Grid
In March -April 2023 ENTSO-E collected projects to be included in reference grid for TYNDP 2024 Scenario Building process purposes.
TYNDP 2022 Project Promoters (both TSOs and third parties) were requested to fill/update the technical information regarding the investments included in their promoted projects, provide the project dNTC impact and point.
Justification for the given selection according to the 4th CBA Guidelines had to be provided accordingly: https://eepublicdownloads.blob.core.windows.net/public-cdn-container/tyndp-documents/CBA/CBA4/221215_CBA4-Guideline_v1.0_for-public-consultation.pdf
Based on the guidance given within the 4th CBA Guidelines the reference grid for the 2030 horizon, which corresponds to the mid-term horizon, is based on criteria a) and b) as defined within the 4th CBA Guideline. This means that only projects which, at their time of submission to the TYNDP, are in the construction phase or those which have successfully completed the environmental impact assessment could be part of the 2030 reference grid.
In addition to the above given maturity criteria, a cut-off for the commissioning years has been set. This choice deals with the uncertainties in the planning and construction, ensuring that only projects with a strong chance of being commissioned at the dates of the respective scenarios are part of the reference grid. The cut-off has been set to 31 December 2030 for the mid-term horizon (2030) and 31 December 2035 for the long-term horizon (2040), excluding all projects with planned commissioning dates later than these cut-offs.
Hydrogen Reference Grid
This file gathers the hydrogen reference grid, that is, all cross-border transmission (or, interconnector) capacities across Europe, according to the data that member TSOs have for 2030. The aforementioned year is the only one for which a reference grid is provided, as 2030 is the starting point for the DE/GA scenarios. After 2030, investment can happen in transmission candidate projects, which are gathered in a separate file.
The columns of these files are as follows:
- Border --- the border on which the interconnector is found (note that the nodes linked by interconnector keep the ISO2 naming convention)
- Summary Direction 1 --- capacity of interconnector (GW) in the direction listed in the index, e.g., AT to DE
- Summary Direction 2 --- capacity of interconnector (GW) in the direction opposite to the one found in the index, e.g., DE to AT
METHODOLOGY FOR THE INVESTMENT CANDIDATES:
Electricity Investment Candidates with ENTSO-E's cost methodology:
The electricity infrastructure investment candidates were prepared in 2-step approach.
In the first step the existing projects from the already published TYNDP list were used with their economic parameters (CAPEX, OPEX, transfer capacity Impact). Those candidates constitute very reliable base for the system needs studies together with scenario building process, as these projects were analyzed within the TYNDP CBA phase and were consulted with ACER and European NRAs.
In the second phase, project promoters from the last already published TYNDP cycle were given an opportunity to submit new candidates. Most of such candidates were submitted by ENTSO-E TSOs with clear distinguished economic parameters. CAPEX for such projects also had to include the costs of the internal reinforcements that are accompanying the project implementation. As the important step, TSOs had opportunity to add additional costs associated with internal reinforcements for the projects that were submitted by 3rd party organizations. This step is very logical, considering the deep knowledge of the national network by given TSOs.
It is important to note that all the conceptual projects (not yet submitted in ENTSO-E TYNDP cycle) are those candidates for which TSOs were already investigating the possibility of potential new interconnection, therefore, economic parameters of such project candidates could be to some degree uncertain but very probable and technically justifiable. In some cases, even preliminary technical studies were performed to analyze potential new connections.
Hydrogen Investment Candidates with ENTSOG's cost methodology (updated after consultation):
In the TYNDP 2022, each target year (2030, 2040, 2050) has 2 infrastructure levels available a "low infrastructure level" and a "high infrastructure level". The "Low infrastrucuture level" is a collection of projects submitted to the first hydrogen TYNDP in 2022. An approach based on project status (as was used for the methane TYNDP) is not a meaningful KPI when developing infrastructure from inauguration. the "high infrastructure level" includes additional cross border capacities submitted by TSOs to ENTSOG's H2 Taskforce.
The hydrogen candidate projects used are based on the difference in pipeline capacity between "low infrastructure level" and "high infrastructure level", for each target year.
Infrastructure costs must then be considered for the expansion of hydrogen pipeline. As there is almost no real world data for this, the cost are based on external studies. The main study used is the 'European Hydrogen Backbone" studies. The methodology followed based on this study is, CAPEX cost are split between repurposed and new hydrogen pipeline with a split of 60% to 40% respectively. A distance must also be considered, in this case either the default distance of 30% of the distance from capital to capital is used, referencing a distance related dataset from ewi study on the cost of H2 imports to the EU, or a different distance provided by the TSO to include a country specific viw that is not captured by the general methodology.

## 1. Elec Ref Grid
Border | Summary Direction 1 (MW) | Summary Direction 2 (MW)
AL00-GR00 | 600 | 600
AL00-ME00 | 400 | 400
AL00-MK00 | 500 | 500
AL00-RS00 | 250 | 250
AT00-CH00 | 1200 | 1200
AT00-CZ00 | 900 | 900
AT00-DE00 | 7500 | 7500
AT00-HU00 | 800 | 800
AT00-ITN1 | 875 | 695
AT00-SI00 | 950 | 950
AT00-SK00 | 0 | 0
BA00-HR00 | 900 | 800
BA00-ME00 | 500 | 500
BA00-RS00 | 1640 | 1680
BE00-DE00 | 1000 | 1000
BE00-FR00 | 2800 | 4300
BE00-LUB1 | 380 | 0
BE00-LUG1 | 300 | 180
BE00-NL00 | 3400 | 3400
BE00-UK00 | 1000 | 1000
BG00-GR00 | 1700 | 1400
BG00-MK00 | 400 | 400
BG00-RO00 | 2190 | 2190
BG00-RS00 | 380 | 350
BG00-TR00 | 900 | 500
CH00-DE00 | 4200 | 4400
CH00-FR00 | 2200 | 4500
CH00-ITN1 | 5772 | 3110
CY00-EG00 | 0 | 0
CY00-GR03 | 1000 | 1000
CY00-IL00 | 1000 | 1000
CZ00-DE00 | 2600 | 2500
CZ00-PL00I | 600 | 0
CZ00-SK00 | 1800 | 1100
DE00-DEKF | 400 | 400
DE00-DKE1 | 600 | 600
DE00-DKW1 | 3500 | 3500
DE00-FR00 | 4800 | 4800
DE00-LUG1 | 2400 | 2400
DE00-LUV1 | 1300 | 1300
DE00-NL00 | 5000 | 5000
DE00-NOS0 | 1400 | 1400
DE00-PL00I | 2000 | 0
DE00-SE04 | 1315 | 1315
DE00-UK00 | 1400 | 1400
DEKF-DKKF | 400 | 400
DKE1-DKKF | 600 | 600
DKE1-DKW1 | 600 | 590
DKE1-PL00 | 0 | 0
DKE1-SE04 | 1700 | 1300
DKW1-NL00 | 700 | 700
DKW1-NOS0 | 1632 | 1632
DKW1-SE03 | 715 | 715
DKW1-UK00 | 1400 | 1400
DZ00-MA00 | 1000 | 1000
DZ00-TN00 | 250 | 250
EE00-FI00 | 1016 | 1016
EE00-LV00 | 950 | 879
EG00-GR00 | 3000 | 3000
EG00-LY00 | 240 | 240
ES00-FR00 | 5000 | 5000
ES00-MA00 | 900 | 600
ES00-PT00 | 4200 | 3500
FI00-NON1 | 0 | 0
FI00-SE01 | 2000 | 2000
FI00-SE02 | 0 | 0
FI00-SE03 | 1200 | 1200
FR00-IE00 | 700 | 700
FR00-ITN1 | 4485 | 2160
FR00-LUF1 | 380 | 0
FR00-UK00 | 5600 | 5600
FR15-ITCO | 120 | 150
GR00-GR03 | 800 | 800
GR00-ITS1 | 500 | 500
GR00-LY00 | 0 | 0
GR00-MK00 | 1100 | 850
GR00-TR00 | 660 | 580
GR03-LY00 | 0 | 0
HR00-HU00 | 800 | 1000
HR00-RS00 | 300 | 400
HR00-SI00 | 1500 | 1500
HU00-RO00 | 1617 | 1435
HU00-RS00 | 600 | 700
HU00-SI00 | 1200 | 1200
HU00-SK00 | 1800 | 2513
HU00-UA01 | 450 | 650
IE00-UK00 | 1750 | 1750
IE00-UKNI | 1250 | 1200
IL00-PS00 | 3000 | 3000
IS00-UK00 | 0 | 0
ITCN-ITCO | 400 | 400
ITCN-ITCS | 4650 | 5350
ITCN-ITN1 | 4500 | 5300
ITCO-ITSA | 420 | 480
ITCS-ITS1 | 3100 | 5700
ITCS-ITSA | 720 | 900
ITCS-ITSIvirt | 1000 | 1000
ITCS-ME00 | 600 | 600
ITN1-SI00 | 1080 | 1153
ITS1-ITCA | 2000 | 3250
ITSA-ITSIvirt | 1000 | 1000
ITSI-ITCA | 2000 | 2000
ITSI-ITSIvirt | 1500 | 1500
ITSI-MT00 | 225 | 225
ITSI-TN00 | 600 | 600
LT00-LV00 | 950 | 950
LT00-PL00 | 700 | 700
LT00-SE04 | 700 | 700
LY00-TN00 | 500 | 500
ME00-RS00 | 540 | 1140
MK00-RS00 | 460 | 480
NL00-NOS0 | 700 | 700
NL00-UK00 | 1000 | 1000
NOM1-NON1 | 350 | 1300
NOM1-NOS0 | 800 | 600
NOM1-SE02 | 600 | 1000
NON1-SE01 | 700 | 600
NON1-SE02 | 250 | 300
NOS0-SE03 | 2145 | 2095
PL00E-CZ00 | 800 | 0
PL00E-DE00 | 3000 | 0
PL00E-SK00 | 781 | 0
PL00I-PL00 | 3000 | 0
PL00-PL00E | 3000 | 0
PL00-SE04 | 600 | 600
RO00-RS00 | 1984 | 1800
RO00-UA01 | 150 | 150
SE01-SE02 | 3300 | 3300
SE02-SE03 | 7300 | 7300
SE03-SE04 | 6200 | 2800
SK00-PL00I | 818 | 0
SK00-UA01 | 495 | 634
UK00-NOS0 | 1400 | 1400
UK00-UKNI | 450 | 400
MD00-RO00 | 480 | 950
ITCS-ITN1 | 2000 | 2000
EG00-GR03 | 0 | 0
HU00-UA00 | 1000 | 1000
PL00-UA00 | 500 | 500
RO00-UA00 | 800 | 800
SK00-UA00 | 400 | 400
MD00-UA00 | 600 | 600
Readme:
This file gathers the electricity reference grid, that is, all cross-border transmission (or, interconnector) capacities across Europe, according to the data that member TSOs have for 2030. The aforementioned year is the only one for which a reference grid is provided, as 2030 is the starting point for the DE/GA scenarios. After 2030, investment can happen in transmission candidate projects, which are gathered in a separate file.
The columns of these files are as follows:
- Border --- the border on which the interconnector is found (note that the nodes linked by interconnector keep the naming convention of the ENTSO-E market nodes)
- Summary Direction 1 --- capacity of interconnector (MW) in the direction listed in the index, e.g., AL00 to GR00
- Summary Direction 2 --- capacity of interconnector (MW) in the direction opposite to the one found in the index, e.g., GR00 to AL00

## 2. H2 Ref Grid
Border | Summary Direction 1 (GW) | Summary Direction 2 (GW)
AT-DE | 6.25 | 6.25
AT-IBIT | 5.25 | 7
AT-SI | 0 | 0
AT-SK | 6 | 6
BE-DE | 3.79 | 3.79
BE-FR | 4.5 | 4.5
BE-LU | 0.58 | 0.58
BE-NL | 2 | 2
BG-GR | 3.33 | 3.15
BG-RO | 0.74 | 0.74
CH-IBIT | 5.63 | 3.67
CZ-DE | 6 | 6
DE-DK | 2.1 | 2.1
DE-FR | 8 | 8.5
DE-NL | 0.5 | 15.63
DE-PL | 4.17 | 8.33
EE-FI | 4.17 | 8.33
EE-LV | 8.33 | 4.17
ES-FR | 9 | 9
ES-IT | 0 | 0
ES-PT | 3.38 | 3.38
FI-SE | 6.75 | 6.75
HR-HU | 0 | 0
HR-SI | 0 | 0
HU-RO | 3.2 | 3.2
HU-SI | 0 | 0
HU-SK | 4.17 | 4.17
IT-SI | 0 | 0
LT-LV | 4.17 | 8.33
LT-PL | 8.33 | 4.17
SK-CZ | 6 | 0
FI-IBFI | 21 | 21
SE-IBFI | 21 | 21
IT-IBIT | 8.92 | 8.92
DE-IBFI | 21 | 21
Readme:
This file gathers the hydrogen reference grid, that is, all cross-border transmission (or, interconnector) capacities across Europe, according to the data that member TSOs have for 2030. The aforementioned year is the only one for which a reference grid is provided, as 2030 is the starting point for the DE/GA scenarios. After 2030, investment can happen in transmission candidate projects, which are gathered in a separate file.
The columns of these files are as follows:
- Border --- the border on which the interconnector is found (note that the nodes linked by interconnector keep the ISO2 naming convention)
- Summary Direction 1 --- capacity of interconnector (GW) in the direction listed in the index, e.g., AT to DE
- Summary Direction 2 --- capacity of interconnector (GW) in the direction opposite to the one found in the index, e.g., DE to AT

## 3. Elec Invest Candidates
BORDER | FROM NODE | TO NODE | YEAR | SCENARIO | DIRECT CAPACITY INCREASE (MW) | INDIRECT CAPACITY INCREASE (MW) | CAPEX (M€)
AT00-ITN1 Real 1 | AT00 | ITN1 | 2035 | All | 500 | 500 | 175
AT00-ITN1 Real 2 | AT00 | ITN1 | 2040 | All | 150 | 150 | 148.18
AT00-SI00 Real 1 | AT00 | SI00 | 2035 | All | 500 | 500 | 316.7
BE00-DE00 Real 1 | BE00 | DE00 | 2040 | All | 1000 | 1000 | 964
BE00-FR00 Real 1 | BE00 | FR00 | 2030 | All | 1000 | 1000 | 150
BE00-LUG1 Real 1 | BE00 | LUG1 | 2040 | All | 500 | 500 | 210
BE00-NL00 Real 1 | BE00 | NL00 | 2035 | All | 1000 | 1000 | 1090
BE00-NL00 Real 2 | BE00 | NL00 | 2035 | All | 1000 | 1000 | 94
BE00-UK00 Real 1 | BE00 | UK00 | 2035 | All | 1400 | 1400 | 1649
BG00-TR00 Real 1 | BG00 | TR00 | 2040 | All | 1100 | 700 | 60
CH00-DE00 Real 1 | CH00 | DE00 | 2035 | All | 200 | 0 | 290.22
CH00-DE00 Real 2 | CH00 | DE00 | 2035 | All | 100 | 600 | 86
DE00-CH00 Real 1 | DE00 | CH00 | 2040 | All | 1000 | 1000 | 1096
CH00-ITN1 Real 1 | CH00 | ITN1 | 2035 | All | 1000 | 1000 | 1289
DE00-NL00 Real 1 | DE00 | NL00 | 2035 | All | 1000 | 1000 | 200
DKW1-UK00 Real 1 | DKW1 | UK00 | 2035 | All | 1400 | 1400 | 1471
ES00-FR00 Real 1 | ES00 | FR00 | 2030 | All | 1500 | 1500 | 1221
ES00-FR00 Real 2 | ES00 | FR00 | 2030 | All | 1500 | 1500 | 1554
FR00-UK00 Real 1 | FR00 | UK00 | 2035 | All | 1250 | 1250 | 1200
IE00-UKNI Real 1 | IE00 | UKNI | 2030 | All | 950 | 950 | 363
UK00-UKNI Real 1 | UK00 | UKNI | 2030 | All | 700 | 700 | 446
BA00-HR00 Real 1 | BA00 | HR00 | 2035 | All | 998 | 302 | 267.03
BG00-RS00 Real 1 | BG00 | RS00 | 2035 | All | 490 | 270 | 272.5
CZ00-SK00 Real 1 | CZ00 | SK00 | 2035 | All | 500 | 500 | 133.35
DE00-SE04 Real 1 | DE00 | SE04 | 2035 | All | 700 | 700 | 661
DE00-UK00 Real 1 | DE00 | UK00 | 2030 | All | 1400 | 1400 | 1675
DKW1-SE03 Real 1 | DKW1 | SE03 | 2035 | All | 700 | 700 | 317
EE00-FI00 Real 1 | EE00 | FI00 | 2035 | All | 700 | 700 | 630
EE00-LV00 Real 1 | EE00 | LV00 | 2035 | All | 1000 | 1000 | 900
FI00-SE01 Real 1 | FI00 | SE01 | 2035 | All | 800 | 800 | 270
FI00-SE01 Real 2 | FI00 | SE01 | 2030 | All | 900 | 800 | 270
FI00-SE03 Real 1 | FI00 | SE03 | 2040 | All | 800 | 800 | 500
GR00-ITS1 Real 1 | GR00 | ITS1 | 2035 | All | 1000 | 1000 | 1323.2
GR00-MK00 Real 1 | GR00 | MK00 | 2035 | All | 500 | 500 | 5.63
GR00-TR00 Real 1 | GR00 | TR00 | 2035 | All | 600 | 600 | 87.55
HR00-RS00 Real 1 | HR00 | RS00 | 2040 | All | 600 | 600 | 44
HU00-RO00 Real 1 | HU00 | RO00 | 2035 | All | 1410 | 740 | 145.88
HU00-RS00 Real 1 | HU00 | RS00 | 2030 | All | 500 | 500 | 120.1
ITCS-ME00 Real 1 | ITCS | ME00 | 2035 | All | 600 | 600 | 345
LT00-SE04 Real 1 | LT00 | SE04 | 2030 | All | 600 | 600 | 284
LV00-SE03 Real 1 | LV00 | SE03 | 2035 | All | 500 | 500 | 799
SE02-SE03 Real 1 | SE02 | SE03 | 2035 | All | 2000 | 2000 | 0
SE02-SE03 Real 2 | SE02 | SE03 | 2040 | All | 1000 | 1000 | 0
AT00-CH00 Concept 1 | AT00 | CH00 | 2030 | All | 500 | 500 | 433.53
AT00-CH00 Concept 2 | AT00 | CH00 | 2030 | All | 500 | 500 | 416.53
AT00-DE00 Concept 1 | AT00 | DE00 | 2030 | All | 1000 | 1000 | 1385.06
AT00-DE00 Concept 2 | AT00 | DE00 | 2030 | All | 1000 | 1000 | 1489.92
AT00-DE00 Concept 3 | AT00 | DE00 | 2040 | All | 1000 | 1000 | 2285.92
AT00-DE00 Concept 4 | AT00 | DE00 | 2040 | All | 1000 | 1000 | 5674.1
AT00-ITN1 Concept 1 | AT00 | ITN1 | 2030 | All | 500 | 500 | 741.2
AT00-ITN1 Concept 2 | AT00 | ITN1 | 2030 | All | 500 | 500 | 781.2
AT00-SI00 Concept 1 | AT00 | SI00 | 2030 | All | 500 | 500 | 547.24
AT00-SI00 Concept 2 | AT00 | SI00 | 2040 | All | 500 | 500 | 656.3
AT00-SI00 Concept 3 | AT00 | SI00 | 2040 | All | 500 | 500 | 744.55
BE00-DE00 Concept 1 | BE00 | DE00 | 2030 | All | 1000 | 1000 | 965
BE00-DE00 Concept 2 | BE00 | DE00 | 2040 | All | 1000 | 1000 | 1550
BE00-FR00 Concept 1 | BE00 | FR00 | 2040 | All | 1000 | 1000 | 762
BE00-FR00 Concept 2 | BE00 | FR00 | 2040 | All | 1000 | 1000 | 722
BE00-NL00 Concept 1 | BE00 | NL00 | 2030 | All | 1000 | 1000 | 968.2
BE00-NL00 Concept 2 | BE00 | NL00 | 2030 | All | 1000 | 1000 | 1184
BE00-UK00 Concept 1 | BE00 | UK00 | 2040 | All | 2000 | 2000 | 2617
BG00-TR00 Concept 1 | BG00 | TR00 | 2040 | All | 500 | 500 | 110.5
BG00-TR00 Concept 2 | BG00 | TR00 | 2040 | All | 500 | 500 | 222.7
CH00-FR00 Concept 1 | CH00 | FR00 | 2040 | All | 1000 | 1000 | 755
CH00-FR00 Concept 2 | CH00 | FR00 | 2040 | All | 1000 | 1000 | 1290
CH00-ITN1 Concept 1 | CH00 | ITN1 | 2030 | All | 1000 | 1000 | 1406
CH00-ITN1 Concept 2 | CH00 | ITN1 | 2030 | All | 1000 | 1000 | 1600
DE00-CH00 Concept 1 | DE00 | CH00 | 2030 | All | 1000 | 1000 | 1100
DE00-CH00 Concept 2 | DE00 | CH00 | 2040 | All | 1000 | 1000 | 1900
DE00-FR00 Concept 1 | DE00 | FR00 | 2040 | All | 1000 | 1000 | 1312
DE00-FR00 Concept 2 | DE00 | FR00 | 2040 | All | 1000 | 1000 | 1405
ES00-FR00 Concept 1 | ES00 | FR00 | 2040 | All | 1500 | 1500 | 2977
ES00-FR00 Concept 2 | ES00 | FR00 | 2040 | All | 1500 | 1500 | 4065
ES00-PT00 Concept 1 | ES00 | PT00 | 2040 | All | 500 | 500 | 81
ES00-PT00 Concept 2 | ES00 | PT00 | 2040 | All | 500 | 500 | 110
ES00-PT00 Concept 3 | ES00 | PT00 | 2040 | All | 500 | 500 | 131
ES00-PT00 Concept 4 | ES00 | PT00 | 2040 | All | 500 | 500 | 151.6
FR00-IE00 Concept 1 | FR00 | IE00 | 2030 | All | 700 | 700 | 1800
FR00-IE00 Concept 2 | FR00 | IE00 | 2030 | All | 700 | 700 | 2450
FR00-ITN1 Concept 1 | FR00 | ITN1 | 2030 | All | 1000 | 1000 | 1560
FR00-ITN1 Concept 2 | FR00 | ITN1 | 2030 | All | 1000 | 1000 | 2540
FR00-UK00 Concept 1 | FR00 | UK00 | 2040 | All | 1300 | 1300 | 1350
FR00-UK00 Concept 2 | FR00 | UK00 | 2040 | All | 1300 | 1300 | 1635
GR00-TR00 Concept 1 | GR00 | TR00 | 2040 | All | 500 | 500 | 347.8
GR00-TR00 Concept 2 | GR00 | TR00 | 2040 | All | 500 | 500 | 477.8
ITN1-SI00 Concept 1 | ITN1 | SI00 | 2040 | All | 500 | 500 | 540
ITN1-SI00 Concept 2 | ITN1 | SI00 | 2040 | All | 500 | 500 | 640
ITSI-TN00 Concept 1 | ITSI | TN00 | 2030 | All | 500 | 500 | 950
ITSI-TN00 Concept 2 | ITSI | TN00 | 2030 | All | 500 | 500 | 1150
NL00-UK00 Concept 1 | NL00 | UK00 | 2030 | All | 1000 | 1000 | 1510
NL00-UK00 Concept 2 | NL00 | UK00 | 2030 | All | 1000 | 1000 | 1520
NOS0-UK00 Concept 1 | NOS0 | UK00 | 2040 | All | 1000 | 1000 | 2390
UK00-IE00 Concept 1 | UK00 | IE00 | 2030 | All | 700 | 700 | 850
UK00-UKNI Concept 1 | UK00 | UKNI | 2030 | All | 700 | 700 | 950
DE00-NL00 Concept 1 | DE00 | NL00 | 2030 | All | 1000 | 1000 | 2075
DE00-NL00 Concept 2 | DE00 | NL00 | 2040 | All | 1000 | 1000 | 2125
BE00-LUG1 Concept 1 | BE00 | LUG1 | 2040 | All | 500 | 500 | 210
NOS0-UK00 Concept 2 | NOS0 | UK00 | 2040 | All | 1000 | 1000 | 2800
AL00-ME00 Concept 1 | AL00 | ME00 | 2040 | All | 500 | 500 | 9.4
AL00-ME00 Concept 2 | AL00 | ME00 | 2040 | All | 500 | 500 | 10.5
AL00-RS00 Concept 1 | AL00 | RS00 | 2040 | All | 500 | 500 | 24.5
AL00-RS00 Concept 2 | AL00 | RS00 | 2040 | All | 500 | 500 | 92.8
AL00-MK00 Concept 1 | AL00 | MK00 | 2040 | All | 500 | 500 | 47.7
AL00-MK00 Concept 2 | AL00 | MK00 | 2040 | All | 500 | 500 | 77.7
AL00-GR00 Concept 1 | AL00 | GR00 | 2040 | All | 500 | 500 | 232
AL00-GR00 Concept 2 | AL00 | GR00 | 2040 | All | 500 | 500 | 240
AL00-ME00 Concept 3 | AL00 | ME00 | 2040 | All | 500 | 500 | 12.5
AL00-ME00 Concept 4 | AL00 | ME00 | 2040 | All | 500 | 500 | 36
AT00-CZ00 Concept 1 | AT00 | CZ00 | 2030 | All | 500 | 500 | 365.38
AT00-CZ00 Concept 2 | AT00 | CZ00 | 2030 | All | 500 | 500 | 499.18
AT00-CZ00 Concept 3 | AT00 | CZ00 | 2040 | All | 500 | 500 | 1314.5
AT00-HU00 Concept 1 | AT00 | HU00 | 2030 | All | 1000 | 1000 | 866.4
AT00-HU00 Concept 2 | AT00 | HU00 | 2040 | All | 1000 | 1000 | 1703.05
BA00-ME00 Concept 1 | BA00 | ME00 | 2040 | All | 500 | 500 | 18.86
BA00-ME00 Concept 2 | BA00 | ME00 | 2040 | All | 500 | 500 | 24
BA00-HR00 Concept 1 | BA00 | HR00 | 2040 | All | 500 | 500 | 162
BA00-HR00 Concept 2 | BA00 | HR00 | 2040 | All | 500 | 500 | 117
BA00-HR00 Concept 3 | BA00 | HR00 | 2040 | All | 500 | 500 | 132.1
BA00-ME00 Concept 3 | BA00 | ME00 | 2040 | All | 500 | 500 | 36.88
BA00-ME00 Concept 4 | BA00 | ME00 | 2040 | All | 500 | 500 | 29.46
BA00-RS00 Concept 1 | BA00 | RS00 | 2040 | All | 500 | 500 | 54.58
BA00-RS00 Concept 2 | BA00 | RS00 | 2040 | All | 500 | 500 | 62.48
BG00-GR00 Concept 1 | BG00 | GR00 | 2040 | All | 500 | 500 | 221
BG00-GR00 Concept 2 | BG00 | GR00 | 2040 | All | 500 | 500 | 225
BG00-RO00 Concept 1 | BG00 | RO00 | 2040 | All | 500 | 500 | 221
BG00-RO00 Concept 2 | BG00 | RO00 | 2040 | All | 500 | 500 | 219
BG00-RS00 Concept 1 | BG00 | RS00 | 2040 | All | 500 | 500 | 283.44
BG00-RS00 Concept 2 | BG00 | RS00 | 2040 | All | 500 | 500 | 283.44
BG00-MK00 Concept 1 | BG00 | MK00 | 2040 | All | 500 | 500 | 110.8
BG00-MK00 Concept 2 | BG00 | MK00 | 2040 | All | 500 | 500 | 181
CZ00-DE00 Concept 1 | CZ00 | DE00 | 2040 | All | 500 | 500 | 1550
CZ00-DE00 Concept 2 | CZ00 | DE00 | 2040 | All | 500 | 500 | 3243
CZ00-DE00 Concept 3 | CZ00 | DE00 | 2040 | All | 500 | 500 | 3244
CZ00-DE00 Concept 4 | CZ00 | DE00 | 2040 | All | 500 | 500 | 3245
CZ00-PL00 Concept 1 | CZ00 | PL00 | 2040 | All | 1000 | 1000 | 779
CZ00-PL00 Concept 2 | CZ00 | PL00 | 2040 | All | 1000 | 1000 | 10000
CZ00-SK00 Concept 1 | CZ00 | SK00 | 2040 | All | 500 | 500 | 345.3
CZ00-SK00 Concept 2 | CZ00 | SK00 | 2040 | All | 500 | 500 | 396.24
DE00-DKE1 Concept 1 | DE00 | DKE1 | 2030 | All | 500 | 500 | 383.3
DE00-DKE1 Concept 2 | DE00 | DKE1 | 2030 | All | 500 | 500 | 384.3
DE00-DKE1 Concept 3 | DE00 | DKE1 | 2040 | All | 500 | 500 | 385.3
DE00-DKE1 Concept 4 | DE00 | DKE1 | 2040 | All | 500 | 500 | 386.3
DE00-DKE1 Concept 5 | DE00 | DKE1 | 2040 | All | 500 | 500 | 387.3
DE00-DKE1 Concept 6 | DE00 | DKE1 | 2040 | All | 500 | 500 | 388.3
DE00-DKW1 Concept 1 | DE00 | DKW1 | 2040 | All | 2000 | 2000 | 4800
DE00-NOS0 Concept 1 | DE00 | NOS0 | 2040 | All | 1000 | 1000 | 4000
DE00-NOS0 Concept 2 | DE00 | NOS0 | 2040 | All | 1000 | 1000 | 4000
DE00-PL00 Concept 1 | DE00 | PL00 | 2040 | All | 2000 | 2000 | 1080
DE00-PL00 Concept 2 | DE00 | PL00 | 2040 | All | 2000 | 2000 | 10000
DE00-SE04 Concept 1 | DE00 | SE04 | 2040 | All | 500 | 500 | 478.6
DE00-SE04 Concept 2 | DE00 | SE04 | 2040 | All | 500 | 500 | 479.6
DE00-SE04 Concept 3 | DE00 | SE04 | 2040 | All | 500 | 500 | 480.6
DE00-SE04 Concept 4 | DE00 | SE04 | 2040 | All | 500 | 500 | 481.6
DE00-SE04 Concept 5 | DE00 | SE04 | 2040 | All | 500 | 500 | 482.6
DE00-SE04 Concept 6 | DE00 | SE04 | 2040 | All | 500 | 500 | 483.6
CZ00-DE00 Concept 5 | CZ00 | DE00 | 2040 | All | 500 | 500 | 3246
CZ00-DE00 Concept 6 | CZ00 | DE00 | 2040 | All | 500 | 500 | 3247
DKE1-SE04 Concept 1 | DKE1 | SE04 | 2040 | All | 500 | 500 | 150
DKE1-SE04 Concept 2 | DKE1 | SE04 | 2040 | All | 500 | 500 | 150
DKE1-DKW1 Concept 1 | DKE1 | DKW1 | 2030 | All | 600 | 600 | 600
DKE1-SE04 Concept 3 | DKE1 | SE04 | 2030 | All | 500 | 500 | 150
DKE1-SE04 Concept 4 | DKE1 | SE04 | 2040 | All | 500 | 500 | 150
DKW1-NOS0 Concept 1 | DKW1 | NOS0 | 2040 | All | 1000 | 1000 | 1150
DKW1-NOS0 Concept 2 | DKW1 | NOS0 | 2040 | All | 1000 | 1000 | 850
DKW1-SE03 Concept 1 | DKW1 | SE03 | 2030 | All | 500 | 500 | 471
DKW1-SE03 Concept 2 | DKW1 | SE03 | 2030 | All | 500 | 500 | 472
DKW1-NL00 Concept 1 | DKW1 | NL00 | 2040 | All | 1000 | 1000 | 3250
DKW1-NL00 Concept 2 | DKW1 | NL00 | 2040 | All | 1000 | 1000 | 3850
DKW1-SE03 Concept 3 | DKW1 | SE03 | 2030 | All | 500 | 500 | 471.4
DKW1-SE03 Concept 4 | DKW1 | SE03 | 2030 | All | 500 | 500 | 471.4
DKW1-SE03 Concept 5 | DKW1 | SE03 | 2035 | All | 500 | 500 | 471.4
DKW1-SE03 Concept 6 | DKW1 | SE03 | 2035 | All | 500 | 500 | 471.4
EE00-FI00 Concept 1 | EE00 | FI00 | 2030 | All | 700 | 700 | 850
EE00-FI00 Concept 2 | EE00 | FI00 | 2040 | All | 700 | 700 | 900
EE00-LV00 Concept 1 | EE00 | LV00 | 2030 | All | 1000 | 1000 | 1150
EE00-LV00 Concept 2 | EE00 | LV00 | 2040 | All | 1000 | 1000 | 1200
FI00-NON1 Concept 1 | FI00 | NON1 | 2040 | All | 500 | 500 | 1000
FI00-SE01 Concept 1 | FI00 | SE01 | 2030 | All | 800 | 800 | 300
FI00-SE01 Concept 2 | FI00 | SE01 | 2040 | All | 800 | 800 | 300
FI00-SE02 Concept 1 | FI00 | SE02 | 2030 | All | 500 | 500 | 450
FI00-SE02 Concept 2 | FI00 | SE02 | 2040 | All | 500 | 500 | 450
FI00-SE03 Concept 1 | FI00 | SE03 | 2030 | All | 500 | 500 | 450
FI00-SE03 Concept 2 | FI00 | SE03 | 2040 | All | 500 | 500 | 450
FI00-NON1 Concept 2 | FI00 | NON1 | 2040 | All | 500 | 500 | 1000
FI00-SE01 Concept 3 | FI00 | SE01 | 2040 | All | 800 | 800 | 300
FI00-SE02 Concept 3 | FI00 | SE02 | 2040 | All | 500 | 500 | 450
FI00-SE02 Concept 4 | FI00 | SE02 | 2040 | All | 500 | 500 | 450
FI00-SE03 Concept 3 | FI00 | SE03 | 2040 | All | 500 | 500 | 450
FI00-SE03 Concept 4 | FI00 | SE03 | 2040 | All | 500 | 500 | 450
GR00-ITS1 Concept 1 | GR00 | ITS1 | 2040 | All | 500 | 500 | 1700
GR00-ITS1 Concept 2 | GR00 | ITS1 | 2040 | All | 500 | 500 | 2000
GR00-MK00 Concept 1 | GR00 | MK00 | 2040 | All | 500 | 500 | 48
GR00-MK00 Concept 2 | GR00 | MK00 | 2040 | All | 500 | 500 | 118.75
HR00-HU00 Concept 1 | HR00 | HU00 | 2040 | All | 500 | 500 | 410.4
HR00-HU00 Concept 2 | HR00 | HU00 | 2040 | All | 500 | 500 | 624.6
HR00-RS00 Concept 1 | HR00 | RS00 | 2040 | All | 500 | 500 | 89.45
HR00-RS00 Concept 2 | HR00 | RS00 | 2040 | All | 500 | 500 | 124.23
HR00-SI00 Concept 1 | HR00 | SI00 | 2040 | All | 1000 | 1000 | 91.1
HR00-SI00 Concept 2 | HR00 | SI00 | 2030 | All | 1000 | 1000 | 126
HU00-SI00 Concept 1 | HU00 | SI00 | 2030 | All | 500 | 500 | 183.6
HU00-SI00 Concept 2 | HU00 | SI00 | 2030 | All | 500 | 500 | 327.6
HU00-SK00 Concept 1 | HU00 | SK00 | 2030 | All | 500 | 500 | 441.5
HU00-SK00 Concept 2 | HU00 | SK00 | 2030 | All | 500 | 500 | 303
HU00-RO00 Concept 1 | HU00 | RO00 | 2040 | All | 2000 | 2000 | 1939
HU00-RO00 Concept 2 | HU00 | RO00 | 2040 | All | 2000 | 2000 | 2500
HU00-RS00 Concept 1 | HU00 | RS00 | 2040 | All | 500 | 500 | 478.18
HU00-RS00 Concept 2 | HU00 | RS00 | 2040 | All | 500 | 500 | 2500
HU00-SK00 Concept 3 | HU00 | SK00 | 2040 | All | 500 | 500 | 441.5
HU00-SK00 Concept 4 | HU00 | SK00 | 2040 | All | 500 | 500 | 303
ITCS-ME00 Concept 1 | ITCS | ME00 | 2030 | All | 500 | 500 | 750
ITCS-ME00 Concept 2 | ITCS | ME00 | 2030 | All | 500 | 500 | 900
LT00-LV00 Concept 1 | LT00 | LV00 | 2030 | All | 500 | 500 | 300.7
LT00-LV00 Concept 2 | LT00 | LV00 | 2030 | All | 500 | 500 | 369
LT00-LV00 Concept 3 | LT00 | LV00 | 2030 | All | 500 | 500 | 430.28
LT00-SE04 Concept 1 | LT00 | SE04 | 2040 | All | 500 | 500 | 1025
LT00-SE04 Concept 2 | LT00 | SE04 | 2040 | All | 500 | 500 | 1850
ME00-RS00 Concept 1 | ME00 | RS00 | 2040 | All | 500 | 500 | 54.82
ME00-RS00 Concept 2 | ME00 | RS00 | 2040 | All | 500 | 500 | 83.5
MK00-RS00 Concept 1 | MK00 | RS00 | 2040 | All | 500 | 500 | 95.34
MK00-RS00 Concept 2 | MK00 | RS00 | 2040 | All | 500 | 500 | 144.78
NL00-NOS0 Concept 1 | NL00 | NOS0 | 2040 | All | 1000 | 1000 | 2600
NL00-NOS0 Concept 2 | NL00 | NOS0 | 2040 | All | 1000 | 1000 | 2610
NOM1-SE02 Concept 1 | NOM1 | SE02 | 2040 | All | 500 | 500 | 250
NOM1-SE02 Concept 2 | NOM1 | SE02 | 2040 | All | 500 | 500 | 250
NON1-SE01 Concept 1 | NON1 | SE01 | 2040 | All | 500 | 500 | 250
NON1-SE01 Concept 2 | NON1 | SE01 | 2040 | All | 500 | 500 | 250
NON1-SE02 Concept 1 | NON1 | SE02 | 2040 | All | 500 | 500 | 250
NON1-SE02 Concept 2 | NON1 | SE02 | 2040 | All | 500 | 500 | 250
NOS0-SE03 Concept 1 | NOS0 | SE03 | 2040 | All | 500 | 500 | 250
NOS0-SE03 Concept 2 | NOS0 | SE03 | 2040 | All | 500 | 500 | 250
NOS0-SE03 Concept 3 | NOS0 | SE03 | 2040 | All | 500 | 500 | 250
NOS0-SE03 Concept 4 | NOS0 | SE03 | 2040 | All | 500 | 500 | 250
PL00-SE04 Concept 1 | PL00 | SE04 | 2040 | All | 500 | 500 | 1640
PL00-SE04 Concept 2 | PL00 | SE04 | 2040 | All | 500 | 500 | 1690
PL00-SK00 Concept 1 | PL00 | SK00 | 2040 | All | 1000 | 1000 | 1338
PL00-SK00 Concept 2 | PL00 | SK00 | 2040 | All | 1000 | 1000 | 10000
RO00-RS00 Concept 1 | RO00 | RS00 | 2040 | All | 500 | 500 | 149.01
RO00-RS00 Concept 2 | RO00 | RS00 | 2040 | All | 500 | 500 | 248.9
SE01-SE02 Concept 1 | SE01 | SE02 | 2040 | All | 1000 | 1000 | 630
SE01-SE02 Concept 2 | SE01 | SE02 | 2040 | All | 1000 | 1000 | 630
SE02-SE03 Concept 1 | SE02 | SE03 | 2040 | All | 1000 | 1000 | 780
SE02-SE03 Concept 2 | SE02 | SE03 | 2040 | All | 1000 | 1000 | 780
SE03-SE04 Concept 1 | SE03 | SE04 | 2040 | All | 1000 | 1000 | 550
SE03-SE04 Concept 2 | SE03 | SE04 | 2040 | All | 1000 | 1000 | 550
ITCS-ITS1 Concept 1 | ITCS | ITS1 | 2030 | All | 300 | 300 | 274
ITCS-ITS1 Concept 2 | ITCS | ITS1 | 2030 | All | 200 | 200 | 60
ITCS-ITN1 Concept 1 | ITCS | ITN1 | 2030 | All | 2000 | 2000 | 2675
ITCS-ITCN Concept 1 | ITCS | ITCN | 2030 | All | 800 | 0 | 0
ITCS-ITCN Concept 2 | ITCS | ITCN | 2030 | All | 500 | 500 | 2355
ITCS-ITS1 Concept 3 | ITCS | ITS1 | 2030 | All | 600 | 600 | 0
ITCS-ITCN Concept 3 | ITCS | ITCN | 2030 | All | 500 | 500 | 0
ITCN-ITN1 Concept 1 | ITCN | ITN1 | 2030 | All | 2000 | 2000 | 0
ITCS-ITCN Concept 4 | ITCS | ITCN | 2030 | All | 600 | 600 | 280
ITSI-ITCA Concept 1 | ITSI | ITCA | 2030 | All | 2000 | 2000 | 1410
ITS1-ITCA Concept 1 | ITS1 | ITCA | 2030 | All | 2000 | 2000 | 2724
ITCS-ITS1 Concept 4 | ITCS | ITS1 | 2030 | All | 2000 | 2000 | 0
ITSA-ITCS Concept 1 | ITSA | ITCS | 2030 | All | 1000 | 1000 | 1422
Readme:
This file gathers the expansion candidates for electricity transmission across Europe, according to the data that member TSOs provided for the time horizon between 2035 and 2050.
In essence, there are two types of investment candidates in the electricity grid:
- "Real" projects --- these are projects that
- have been investigated in the previous TYNDP cycle
- are usually expected to be commissioned in a nearer future
- have more certain technical and economic characteristics
- "Concept" projects --- usually reflecting projects whose
- expected commissioning date is after 2040
- technical and economic parameters are less certain
- incremental capacity adds to borders with already existing transmission capacity
The columns of these files are as follows:
- Border --- the border on which the interconnector is found (note that the nodes linked by interconnector keep the ENTSO-E market node naming convention). Multiple projects can occur on one border, an aspect reflected in the suffix of their name, e.g., "Real 1", "Real 2". The difference between "Real" and "Concept" projects is detailed above.
- From node --- source node
- To node --- sink node
- Year --- the year in which the project becomes available for the expansion planning problem, i.e., one of the five target years modelled (2030, 2035, 2040, 2045, 2050)
- Scenario --- scenario to which the investment candidate applies
- Direct Capacity Increase --- incremental capacity of interconnector in the direction listed in the index, e.g., AT00 to ITN1
- Indirect Capacity Increase --- increamental capacity of interconnector in the direction opposite to the one found in the index, e.g., ITN1 to AT00
- CAPEX --- capital cost of the interconnector, accounting for both its length and capacity (incl. cost of internal reinforcement of transmission grid)
The expansion methodology considers all the listed candidates as discrete investment decisions, however the solution method assumes a linear relaxation, i.e., any share of the installed capacity in the [0,1] interval can be part of the expansion planning problem solution.

## 4. H2 Invest Candidates
BORDER | FROM NODE | TO NODE | YEAR | SCENARIO | DIRECT CAPACITY INCREASE (MW) | INDIRECT CAPACITY INCREASE (MW) | CAPEX (M€)
AT-IT | AT | IT | 2030 | All | 3875 | 0 | 215288209
AT-SI | AT | SI | 2030 | All | 1375 | 667 | 92935025
AT-SK | AT | SK | 2030 | All | 500 | 500 | 21589167
BE-DE | BE | FR | 2030 | All | 3833 | 3833 | 170985576
BE-FR | BE | LU | 2030 | All | 583 | 583 | 50345937
BE-NL | BE | NL | 2030 |  | 6000 | 6000 | 50791735
BE-NL | BE | UK | 2030 | All | 8333 | 8333 | 130480934
BE-UK | BG | RO | 2030 | All | 3875 | 3875 | 126239558
BA-HR | HR | HU | 2030 | All | 5350 | 5350 | 90578595
BG-GR | HR | SI | 2030 | All | 667 | 1375 | 36041078
BG-RO | CZ | PL | 2030 | All | 1250 | 1250 | 87302599
HR-HU | CZ | SK | 2030 | All | 6500 | 500 | 91177200
HR-SI | DK | DE | 2030 | All | 7900 | 7900 | 155205940
HR-RS | EE | FI | 2030 | All | 4167 | 0 | 16719876
CZ-DE | FI | SE | 2030 | All | 10167 | 10167 | 196510435
CZ-PL | FR | CH | 2030 | All | 4167 | 4167 | 119078141
CZ-SK | FR | DE | 2030 | All | 1625 | 2125 | 244926033
DK-DE | DE | CH | 2030 | All | 7000 | 7000 | 256894615
EE-FI | DE | NL | 2030 | All | 15333 | 208 | 219081490
FI-SE | DE | PL | 2030 | All | 833 | 0 | 109957944
FR-CH | HU | RO | 2030 | All | 3200 | 3200 | 278575271
FR-DE | HU | SI | 2030 | All | 817 | 817 | 114901246
DE-CH | HU | SK | 2030 | All | 4167 | 4167 | 40984086
DE-NL | IE | UK | 2030 | All | 331 | 331 | 56596432
DE-PL | IT | SI | 2030 | All | 817 | 817 | 148162133
HU-RO | LT | LV | 2030 | All | 3733 | 0 | 132210515
HU-SI | PL | LT | 2030 | All | 2980 | 0 | 158312618
HU-SK | ES | IT | 2040 | All | 13333 | 0 | 1739771889
IE-UK | BE | DE | 2040 | All | 1208 | 1208 | 53724149
IT-SI | BE | LU | 2040 | All | 250 | 250 | 21589167
LV-EE | BE | NL | 2040 | All | 2000 | 2000 | 46771663
LT-LV | BG | GR | 2040 | All | 335 | 521 | 99186800
PL-LT | BG | RO | 2040 | All | 1196 | 1196 | 106676144
ES-IT | CZ | DE | 2040 | All | 7300 | 7300 | 100017637
AT-IT | DE | CH | 2040 | All | 3000 | 3000 | 304150990
AT-SI | DE | NL | 2040 | All | 7467 | 7458 | 106690242
AT-SK | DE | PL | 2040 | All | 4464 | 1131 | 77908063
BE-DE | IE | UK | 2040 | All | 858 | 858 | 146706160
BE-FR | LV | EE | 2040 | All | 1115 | 0 | 484189493
Readme:
This file gathers the expansion candidates for hydrogen transmission across Europe, according to the data that member TSOs provided for the time horizon between 2035 and 2050.
In essence, the hydrogen candidate projects that are made available in 2030 are associated with ENTSOG's "low infrastructure level" - a pre-defined level of the hydrogen transmission grid accounting for the cross-border interconnection projects with higher probability of getting commissioned. On the other hand, the projects available for expansion after 2040 are assocaited with ENTSOG's "high infrastructure level", where less certain candidates are also accounted for.
The columns of these files are as follows:
- Border --- the border on which the interconnector is found (note that the nodes linked by interconnector keep the ISO2 naming convention)
- From node --- source node
- To node --- sink node
- Year --- the year in which the project becomes available for the expansion planning problem, i.e., one of the five target years modelled (2030, 2035, 2040, 2045, 2050)
- Scenario --- scenario to which the investment candidate applies
- Direct Capacity Increase --- incremental capacity of interconnector in the direction listed in the index, e.g., AT-IT
- Indirect Capacity Increase --- increamental capacity of interconnector in the direction opposite to the one found in the index, e.g., IT-AT
- CAPEX --- capital cost of the interconnector, accounting for both its length and capacity
The expansion methodology considers all the listed candidates as discrete investment decisions, however the solution method assumes a linear relaxation, i.e., any share of the installed capacity in the [0,1] interval can be part of the expansion planning problem solution.